## AS
| UPS Name | Load(KW) | Load(KVA) | Backup Time(min) | Battery effecienty(%) | Battery Quantity | Battery Voltage(V) | Batterry Ampere(A)
0 | AS | 5 | 6.25 | 51 | 70 | 6 | 72 | 51